## SEK-SANHUA
KIT Model | Frigo System code | Description | Maximal Cooling Capacity [kW] Tc/Te/Sc/SH: 45°C/-10°C/2K/6K (0°C/-20°C/2K/6K for R744) | [7 empty] | WebShop Link
|  |  | R134a | R448A | R449A | R452A | R513A | R290 | R410A | R744*)
SEK 08 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 2.23 | 2.82 | 2.76 | 2.07 | 1.84 | 3 | 3.43 | 4.7 | Product view
| SAN10136004402 | EX. VALVE LPF08D-003 - 10MM IN - 12MM OUT | [8 empty] | Product view
| SAN10810127602 | COIL PQ-M24012-000007 L= 1500 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 10 Also available as a Kit | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 3.64 | 4.6 | 4.49 | 3.37 | 3 | 4.87 | 5.6 | 7.6 | Product view
| SANLPF10D004 | EX.VALVE LPF10D-004 10MM IN - 12MM OUT | [8 empty] | Product view
| SAN10810127602 | COIL PQ-M24012-000007 L= 1500 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
SAN10142000102 | SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 14 Also available as a Kit | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 6.9 | 8.7 | 8.51 | 6.39 | 5.69 | 9.23 | 10.6 | 14.4 | Product view
| SAN10136002602 | EX.VALVE LPF14D-004 10MM IN - 12MM OUT | [8 empty] | Product view
| SAN10810127602 | COIL PQ-M24012-000007 L= 1500 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
SAN10142000402 | SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 18 Also available as a Kit | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 9.53 | 12 | 11.76 | 8.83 | 7.86 | 12.7 | 14.64 | 19.9 | Product view
| SAN10136002902 | EX.VALVE LPF18D-003 10MM IN-12MM OUT | [8 empty] | Product view
| SAN10810127602 | COIL PQ-M24012-000007 L= 1500 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
SAN10142000602 | SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 24 Also available as a Kit | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 13.04 | 16.45 | 16.09 | 12.1 | 10.75 | 17.3 | 20 | 27.2 | Product view
| SAN10136003102 | EX.VALVE LPF24D-003 10MM IN - 12MM OUT | [8 empty] | Product view
| SAN10810127602 | COIL PQ-M24012-000007 L= 1500 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
SAN10142000802 | SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 30 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 22.7 | 29.8 | 29.1 | 21.8 | 18.8 | 30.9 | 36.6 | - | Product view
| SANDPF09007 | EX.VALVE DPF(TS1)3.0C-01 | [8 empty] | Product view
| SAN10810130702 | COIL PQ-M10012-001002 - L= 2000 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 32 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 25 | 32.8 | 32.1 | 24.1 | 20.7 | 34 | 40.3 | - | Product view
| SANDPF09008 | EX.VALVE DPF(TS1)3.2C-01 | [8 empty] | Product view
| SAN10810130702 | COIL PQ-M10012-001002 - L= 2000 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 40 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 41.6 | 54.6 | 53.3 | 40 | 34.4 | 56.6 | 67 | - | Product view
| SANDPF09010 | EX.VALVE DPF(S03)4.0C-01 | [8 empty] | Product view
| SAN10810141302 | COIL PQ-M03012-001004 L= 2000 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 45 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 55.6 | 73 | 71.4 | 53.6 | 46 | 75.8 | 89.6 | - | Product view
| SANDPF09011 | EX.VALVE DPF(S03)4.5C-01 | [8 empty] | Product view
| SAN10810141302 | COIL PQ-M03012-001004 L= 2000 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 55 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 64.4 | 84.5 | 82.6 | 62 | 53.2 | 87.7 | 103.7 | - | Product view
| SANDPF09012 | EX.VALVE DPF(S03)5.5C-01 | [8 empty] | Product view
| SAN10810141302 | COIL PQ-M03012-001004 L= 2000 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
SEK 65 | SAN10680001102 | DRIVER SEC612-R4 24V DC 4-20MA | 78.3 | 102.8 | 100.5 | 75.4 | 64.7 | 106.7 | 126.2 | - | Product view
| SANDPF09013 | EX.VALVE DPF(S03)6.5C-02 | [8 empty] | Product view
| SAN10810141302 | COIL PQ-M03012-001004 L= 2000 5 PIN | [8 empty] | Product view
| SAN10185017102 | PRESS. TRASDUCER YCQC02L18 1/4 FLARE | [8 empty] | Product view
| SAN20185038202 | CABLE YCQC02-013022 - 3PIN X SEC L.2000 | [8 empty] | Product view
| SANNTC2A1 | TEMP. PROBE NTC2A1 - 10665000102 | [8 empty] | Product view
| SAN20680008002 | TRANSF. TM01 85-263V 50/60HZ 24VDC 0.63A | [8 empty] | Product view
Cable 10 Meters | 80MP3002598 | CABLE FOR NTC PROBE 2 PIN
| 80MP3002599 | CABLE FOR PRESSURE TRANSDUCE 3 PIN
| 80MP3002600 | CABLE FOR LPF / PDF COIL 5 PIN
*) For R744 Application please choose LPF "D" expansion valves.